CLINICAL IMMUNOLOGY LABORATORY

SERVICE MANUAL

TABLE OF CONTENTS

1	PROFILE OF DEPARTMENT	4

1.1	Vision Statement	4

1.2	Laboratory Development	4

1.3	Scope	4

1.4	Research and Development	4

1.5	Laboratory Relationships	4

1.6	Personnel	5

1.7	Training, Education and Development	5

1.8	Quality Assurance Programs	5

2	SPECIMEN COLLECTION AND PREPARATION	5

2.1	Specimen Collection	6

2.2	Specimen Collection Instruction	6

2.3	Specimen Collection Tubes	6

2.4	Handling of Specimen	7

2.5	Laboratory Operating Hours	9

2.6	Request Forms	9

3	ENQUIRIES, CONSULTATIONS AND CANCELLATIONS	10

3.1	Enquiries	10

3.2	Clinical Consultation	10

3.3	Paper Reports	10

3.4	Test Result Call-Backs	10

3.5	Test Cancellation	10

3.6	Corporate Clients	10

3.7	Internal Clients	11

4	LIST OF TESTS PERFORMED IN CIL	11

4.1	Connective Tissue Disease and APS Markers	11

4.1.1	Anti-Nuclear Antibody (ANA)	11

4.1.2	Anti-double stranded DNA Antibody (dsDNA)	11

4.1.3	Anti-SSA (Ro) Antibody (SSA or Ro)	11

4.1.4	Anti-SSB (La) Antibody (SSB or La)	12

4.1.5	Anti-Smith Antibody (Sm)	12

4.1.6	Anti-Ribonucleoprotein Antibody (nRNP)	12

4.1.7	Anti-Scl-70 Antibody (Scl-70)	12

4.1.8	Anti-Jo-1 Antibody (Jo-1)	12

4.1.9	Anti-Cardiolipin IgG Antibody (ACA-IgG)	13

4.1.10	Anti-Cardiolipin IgM Antibody (ACA-IgM)	13

4.1.11	Anti-(2-Glycoprotein-1 (Anti-(2GP1) IgG	13

4.1.12	Myositis Panel (16 Antigens)	13

4.1.13	Systemic Sclerosis Panel (13 Antigens)	13

4.1.14	Anti-HMGCR Antibody	14

4.1.15	Anti-cN1A Antibody	14

4.2	Arthritis Markers	14

4.2.1	Rheumatoid Factor (RF) IgM	14

4.2.2	Anti-CCP (Cyclic Citrullinated Peptide)	14

4.3	Syphilis Serology	15

4.3.1	Rapid Plasma Reagin (RPR)	15

4.3.2	Syphilis IgG Antibody	15

4.4	Organ Specific Autoimmunity	15

4.4.1	Anti-Thyroglobulin Antibody (ATG)	15

4.4.2	Anti-Thyroid Peroxidase Antibody (TPO)	15

4.4.3	Anti-TSH Receptor Antibody (TRAB)	15

4.4.4	Anti-Smooth Muscle Antibody (SMA)	16

4.4.5	Anti-Mitochondrial Antibody (AMA)	17

4.4.6	Anti-Liver, Kidney Microsomal Antibody (LKM)	17

4.4.7	Anti-Islet Cell Antibody (ICA)	17

4.4.8	Glutamic Acid Decarboxylase Autoantibody (GAD)	17

4.4.9	Anti-Parietal Cell Antibody (PCA)	17

4.4.10	Anti-Intrinsic Factor Antibody (AIF)	18

4.4.11	Anti-Skeletal Muscle Antibody (SKA)	18

4.4.12	Anti-Glomerular Basement Membrane Antibody (GBM)	18

4.4.13	Anti-Endomysial Antibody, IgA (EMA)	18

4.4.14	Anti-Tissue Transglutaminase Antibody, IgA (TTGA)	18

4.4.15	Anti-Tissue Transglutaminase Antibody, IgG (TTGG)	19

4.4.16	Anti-Gliadin Peptides Antibody, IgA (GLPA)	19

4.4.17	Anti-Gliadin Peptides Antibody, IgG (GLPG)	19

4.4.18	Anti-Phospholipase A2 Receptor (PLA2R)	19

4.5	Vasculitis Markers	20

4.5.1	Anti-Neutrophil Cytoplasmic Antibody (ANCA)	20

4.5.2	Anti-Myeloperoxidase Antibody (MPO)	20

4.5.3	Anti-Proteinase 3 Antibody (PR3)	20

4.6	Genotyping	21

4.6.1	Human Leucocyte Antigen B27 (HLA B27)	21

4.6.2	Human Leucocyte Antigen B57:01 (HLA-B*57:01)	21

4.6.3	Human Leucocyte Antigen B58:01 (HLA-B*58:01)	21

4.7	Allergy Tests	22

4.7.1	Total IgE, Serum	22

4.7.2	Tryptase, Serum	22

4.7.3	Specific IgE Testing	23

5	REFERRED TEST LISTING	24

5.1	C1 Esterase Inhibitor, Functional Assay	24

5.2	C1 Esterase Inhibitor Antigen, Serum	24

5.3	Angiotensin Converting Enzyme, Serum	25

5.4	IgG Subclasses, Serum	25

# 1	PROFILE OF DEPARTMENT

## 1.1	Vision Statement

To be a group of professionals who provide excellent patient care through education and research, supported by a caring work environment.

## 1.2	Laboratory Development

We plan to develop the laboratory into one of choice for clinicians and clinical trialists managing Rheumatologic, Allergic and Immunologic disorders in Singapore and the region. We will offer the complete range of investigations that are performed accurately, reliably, and expeditiously at competitive costs. We plan to make the services of our Laboratory available to new, external clients and to expand the range of investigations we can offer, both by acquiring new equipment and, for the more difficult ones, by engaging the services of other laboratories which can perform them.

## 1.3	Scope

The Clinical Immunology Laboratory (subsequently referred to as CIL in this document) carries out tests that are vital for the management of patients with Rheumatologic, Allergic or Immunologic diseases.

## 1.4	Research and Development

Our laboratory is primarily meant for service work, but does engage in limited volume of research. We constantly look into our in-house tests, like the analysis for HLA-B27, to improve them. We assist in the collection of sera, plasma and genomic DNA for studies. Clinical researchers also make use of the CIL as a central laboratory for analyzing their study specimen samples.

## 1.5	Laboratory Relationships

We work very closely and constructively with the Department of Laboratory Medicine (DLM) in our hospital. We have links with the Immunology Laboratory of the Singapore General Hospital especially in terms of exchanging specimen for mutual corroboration. Certain tests that are neither available in our laboratory nor offered elsewhere in Singapore are sent to the Mayo Medical Laboratories (Rochester, Minnesota) for analysis.

## 1.6	Personnel

Laboratory Director: Dr Leong Khai Pang

Deputy Laboratory Director: Dr Tan Teck Choon

Medical Technologists In-charge: Carol Ng

## 1.7	Training, Education and Development

Training and education is essential for the maintenance and improvement of our services. Therefore, this program is emphasized in the CIL. New staffs undergo structured training in the different sections of our laboratory so that they gain competence in all the tests. Staffs are granted time to attend courses and talks.

## 1.8	Quality Assurance Programs

The quality of our results is under constant surveillance. Results that vary from the expected range with respect to patient population or laboratory norm will be scrutinized and repeated if necessary.

We subscribe to two external audit programs: the National External Quality Assurance Scheme (NEQAS) from UK and College of American Pathologists (CAP) Survey from the USA. Our laboratory has been accredited by the CAP since 2001.

# 2	SPECIMEN COLLECTION AND PREPARATION

Laboratory test results are dependent on the quality of the submitted specimen. It is important that all specimens and request forms be properly labeled with the patient’s name, collection date, and the origin (source) of the specimen, when applicable. Also, they must be collected in the right manner, transported in the correct tubes and stored in the right conditions. These pre-analytic conditions are vital to the analysis work carried out in the laboratory.

If there is doubt or question about the type and method of specimen collection, please contact CIL by telephone (6357-8464) or email to CIL_Enquiry@ttsh.com.sg and we will be happy to assist.

## 2.1	Specimen Collection

Most laboratory tests are performed on serum, plasma or anti-coagulated whole blood. In general, tubes containing the specimens should be refrigerated until they are ready to be transported to the laboratory in the infectious disease biohazard bags. Please see our individual test directory section for other specific requirements.

2.1.1	Plasma

- Draw a sufficient amount of blood with the indicated anticoagulant to yield the necessary plasma volume. Gently mix the blood collection tube by inverting six to ten times immediately after collection.

- Ideally, plasma should be separated from cells by centrifugation within 20-30 minutes.

2.1.2	Serum

- Draw a sufficient amount of blood to yield the necessary serum volume. Allow blood to clot at room temperature. Separate serum from clot by centrifugation within 20-30 minutes. Haemolysis should be avoided.

- Vigorous mixing, inadequate clotting time for the specimen and high centrifugation speed may cause haemolysis.

2.1.3	Whole Blood

- Draw a sufficient amount of blood with the indicated anticoagulant. Gently mix the blood collection tube by inverting six to ten times immediately after draw.

## 2.2	Specimen Collection Instruction

When collecting specimens for transportation to CIL, please keep in mind:

- The specimen must be properly identified.

- The patient's name, hospital number or the unique identifier must be clearly written on the specimen container.

- The appropriate test requisition, complete with the patient's name or unique identifier must accompany the specimen.

- Unlabelled or mislabelled specimens will not be tested.

## 2.3	Specimen Collection Tubes

These tubes are often used to collect specimen for processing in the CIL:

    - Lavender-Top Tube (EDTA)

- This tube contains the anticoagulant EDTA and is used for collecting whole blood.

- In CIL, HLA-B27, HLA-B*57:01 and HLA-B*58:01 testing requires whole blood collected with this tube.

- After filling the tube with blood, immediately invert it several times in order to prevent coagulation.

2.3.2	Light-Blue-Top Tube (Sodium Citrate)

- This tube contains sodium citrate as an anticoagulant and is used for collecting whole blood.

- In CIL, HLA-B27, HLA-B*57:01 and HLA-B*58:01 testing requires whole blood collected with this tube.

- Immediately after blood draw, invert the tube six to ten times in order to activate the anticoagulant.

2.3.3	Serum Separator Tube (SST( - Yellow-Top VACUTAINER()

- This tube contains a clot activator and serum gel separator – used for various laboratory tests on sera.

- Invert the tube to activate the clotting; let stand for 20-30 minutes before centrifuging for 15 minutes. If frozen serum is required, pour off serum into plastic vial and freeze. Do not freeze VACUTAINER( tubes.

## 2.4	Handling of Specimen

All specimens must be placed in properly labelled containers and transported in an infectious disease biohazard bag. Specimen may be hand-delivered to CIL.

2.4.1	Courier Services

Courier services are available for transporting specimens to CIL from many locations throughout Singapore. Special courier services will be established if appropriate arrangements can be made. For more information, please contact us at the following numbers:

Tel: 6357-8464 		Fax: 6357-8463 		Email: cil_enquiry@ttsh.com.sg

2.4.2	Turnaround time

This catalog lists the days on which the tests are set up and the amount of time needed to analyse the test sample as an indicator of the turnaround times. Kindly note that repeated tests requires additional time. If the published turnaround times cannot be met by the laboratory, a memo will be send out stating when the result(s) will be available.

The results obtained through telephone (6357-8464) are provisional and may change after final quality assurance validation. Only the hard copy printed on letterhead paper issued by CIL should be regarded as final.

2.4.3	Repeat determinations

We will repeat tests without additional charge to the patient under the following circumstances:

- When we determine that our analytical system has failed quality control;

- If a specimen is lost because of a laboratory accident; or

- When the result does not correlate (in the doctor’s opinion) with the patient’s clinical picture. In such an instance, the doctor should explain the circumstances on the memo accompanying the new specimen.

Follow-up or confirmatory testing is not considered repeat determinations and the lab will charge the patient accordingly.

2.4.4	Storage of specimen

Original blood specimens and sera are kept at 4oC for a week, and analyzed sera are kept at    -70(C for 6 months. There might be occasions when it would be necessary to repeat or run additional tests on those samples in storage. To request this, please send an official requisition form with patient’s particulars and the date of blood collected.

2.4.5	Unacceptable specimen

Some specimens cannot be analyzed because of improper collection or degradation in transit. Other specimens may have prolonged turnaround times because of lack of necessary ancillary specimens or patient information.

You will be notified of rejected or problem specimens upon receipt. To avoid specimen rejection, please use the following checklist:

- Are the patient information boxes in the request form correctly, legibly and adequately filled up?

- Has the patient been properly prepared before blood draw? For example, the assays for C1 esterase inhibitor (both antigen and functional) level prefers (but not required) fasting blood.

- Is the specimen derived from the correct patient?

- Is the specimen kept in the right container (metal-free, separation gel, sterility, etc)?

- Has the correct specimen type (plasma, serum, whole blood etc) been collected?

- Is the specimen volume sufficient?

- Is the storage temperature (ambient, frozen or refrigerated) appropriate?

2.4.6	Labelling errors

In the case of a major labelling error (e.g. no label, patient data on specimen container does not tally with request form), the laboratory will notify the doctor or the nurse in-charge and the specimen will be discarded and request rejected.

2.4.7	Specimen rejection policy

The quality and appropriateness of the specimen limit accuracy and clinical usefulness of all laboratory analyses. The techniques used for the collection and submission of the specimen can influence the outcome of testing results.

All specimens are subject to rejection if:

- Are of insufficient quantity or quality.

- Are of excessive age for the type of examination requested.

- Are received with either specimen container unlabeled or incomplete test request form or the specimen label not matching the test request form.

- Are leaking and can easily be replaced by recollection.

- Are of incorrect specimen type or condition

## 2.5	Laboratory Operating Hours

The Laboratory is open as follows:

Monday to Friday				: 8.30 am – 5.30 pm

Saturdays, Sundays & Public Holidays	: Closed

## Request Forms

Request forms can be downloaded from https://www.ttsh.com.sg/clinical-immunology-lab/ for your ease of use. Hardcopy can be supplied without charge. Please call us at 6357-8464 to arrange for delivery of forms.

# 3	ENQUIRIES, CONSULTATIONS AND CANCELLATIONS

## 3.1	Enquiries

The Medical Technologists of CIL provide technical information; handle general inquiries regarding types of available tests, service hours, and types of supplies available, specimen collection, unacceptable specimens, test results, payment and others.

Telephone: 6357-8464 	Facsimile: 6357-8463		Email: cil_enquiry@ttsh.com.sg

## 3.2	Clinical Consultation

We welcome clinical discussions on the interpretation of tests conducted in the CIL. Requests for interpretation of test results and consultations should be directed to the laboratory consultant:

Dr. Leong Khai Pang 		Telephone: 6357-7821	Mobile no: 8126-3240

Dr. Tan Teck Choon			Mobile no: 9117-7858

## 3.3	Paper Reports

Reports will be sent to the requesting location.

## 3.4	Test Result Call-Backs

Results will be faxed (or emailed to requesting doctor) to a client when requested.

## 3.5	Test Cancellation

Physicians occasionally decide that certain tests are not needed after the specimen drawn from the patient has been dispatched. We honour such cancellations at no charge provided the tests have not been set up. Once the analysis has commenced, such requests cannot be accepted. A memorandum containing the patient’s particulars test(s) to be cancelled and doctor’s signature must be sent to CIL within 24 hours after verbal cancellation.

## 3.6	Corporate Clients

The Finance Department will issue a monthly billing invoice for tests performed in the Laboratory to private medical practitioners, contractual clients and private institutions allied to TTSH.

## Internal Clients

Doctors practicing in Tan Tock Seng Hospital utilize a different system for test ordering and obtaining patient reports.

# 4	LIST OF TESTS PERFORMED IN CIL

This is a list of tests currently performed in the CIL.

Electronic version can be found on TTSH website: http://www.ttsh.com.sg/Clinical-Immunology-Lab/

## 4.1	Connective Tissue Disease and APS Markers

### Anti-Nuclear Antibody (ANA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Normal <80 Titre

If positive, results are titred up to 1/640 dilution and patterns indicated.

Turnaround Time:	1-4 days

Day(s) Test Set Up:		Monday through Friday, Morning

### Anti-double stranded DNA Antibody (dsDNA)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal < 25 IU/mL

Turnaround Time:		1-2 days

Day(s) Test Set Up:		Monday through Friday, Morning

### Anti-SSA (Ro) Antibody (SSA or Ro)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

### Anti-SSB (La) Antibody (SSB or La)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

### Anti-Smith Antibody (Sm)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

### Anti-Ribonucleoprotein Antibody (nRNP)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

### Anti-Scl-70 Antibody (Scl-70)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

### Anti-Jo-1 Antibody (Jo-1)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

### Anti-Cardiolipin IgG Antibody (ACA-IgG)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal ≤20 GPL Units

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Tuesday, Morning

### Anti-Cardiolipin IgM Antibody (ACA-IgM)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal ≤20 MPL Units

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Tuesday, Morning

### Anti-(2-Glycoprotein-1 (Anti-(2GP1) IgG

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Tuesday, Morning

### Myositis Panel (16 Antigens)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Immunoblotting Assay

Reference:			Negative (Reported as Strong Positive, Positive or Negative)

Individual results for 16 Antigens: Mi-2α, Mi-2β, TIF1γ, MDA5, NXP2, SAE1, Ku, Ro-52, PM-Scl100, PM-Scl75, Jo-1, SRP, PL-7, PL-12, EJ, OJ

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Monday, Morning

### Systemic Sclerosis Panel (13 Antigens)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Immunoblotting Assay

Reference:			Negative (Reported as Strong Positive, Positive or Negative)

Individual results for 13 Antigens: Scl-70, CENP A, CENP B, RP11, RP155, Fibrillarin, NOR90, Th/To, PM-Scl100, PM-Scl75, Ku, PDGFR, Ro-52

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Monday, Morning

### Anti-HMGCR Antibody

Specimen Required:	Serum (Yellow or Red top)

Transport condition:	Refrigerated (2-8oC if <48 hours)

Frozen (if >48 hours)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:	Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Afternoon

### Anti-cN1A Antibody

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:	Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

## Arthritis Markers

### Rheumatoid Factor (RF) IgM

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:	Normal <20 RU/mL

Turnaround Time:		1-4 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-CCP (Cyclic Citrullinated Peptide)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 Units

Turnaround Time:		1-4 days

Day(s) Test Set Up:		Monday Morning and Thursday, Afternoon

## Syphilis Serology

### Rapid Plasma Reagin (RPR)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA or Heparin)

Method:	Card Particle Agglutination Test

Reference:			Non-reactive

If reactive, results are titred up to extinction

Turnaround Time:		1-3 days

Day(s) Test Set Up:		Monday through Friday Afternoon

### Syphilis IgG Antibody

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			<16 RU/mL - Negative

≥16 to <22 RU/mL - Borderline

≥22 RU/mL - Positive

Turnaround Time:		1-4 days

Day(s) Test Set Up:		Tuesday and Friday, Afternoon

## Organ Specific Autoimmunity

### Anti-Thyroglobulin Antibody (ATG)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <100 IU/ml

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

### Anti-Thyroid Peroxidase Antibody (TPO)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <50 IU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

### Anti-TSH Receptor Antibody (TRAB)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <1.0 IU/L

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

### Anti-Smooth Muscle Antibody (SMA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative

If positive, results are titred up to 1/320 dilution.

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### 4.4.5	Anti-Mitochondrial Antibody (AMA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-Liver, Kidney Microsomal Antibody (LKM)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-Islet Cell Antibody (ICA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Thursday, Afternoon

### Glutamic Acid Decarboxylase Autoantibody (GAD)

Specimen Required:	Serum (Yellow or Red top)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <5 U/mL

Turnaround Time:		1-14 days

Day(s) Test Set Up:		Alternate Monday, Morning

### Anti-Parietal Cell Antibody (PCA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-Intrinsic Factor Antibody (AIF)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:	Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Morning

### Anti-Skeletal Muscle Antibody (SKA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-Glomerular Basement Membrane Antibody (GBM)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-3 days

Day(s) Test Set Up:		Monday through Friday

### Anti-Endomysial Antibody, IgA (EMA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:	Negative (Reported as Positive or Negative)

Turnaround Time:		1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-Tissue Transglutaminase Antibody, IgA (TTGA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Morning

### Anti-Tissue Transglutaminase Antibody, IgG (TTGG)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			<1.0 Ratio – Negative

≥1.0 to 2.0 Ratio – Weak Positive

≥2.0 to 5.0 Ratio – Positive

≥5.0 – High Positive

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Morning

### Anti-Gliadin Peptides Antibody, IgA (GLPA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <25 RU/mL

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Morning

### Anti-Gliadin Peptides Antibody, IgG (GLPG)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <25 RU/mL

Turnaround Time :		1-7 days

Day(s) Test Set Up:		Thursday, Morning

### Anti-Phospholipase A2 Receptor (PLA2R)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			<14 RU/mL – Negative

≥14 to <20 RU/mL – Borderline

≥20 RU/mL – Positive

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Morning

## Vasculitis Markers

### Anti-Neutrophil Cytoplasmic Antibody (ANCA)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Indirect Immunofluorescence

Reference:			Negative

If positive for C-ANCA or P-ANCA, the result will be reported. Anti-Myeloperoxidase Antibody (MPO) & Anti-Proteinase 3 (PR3) antibody will be recommended.

Anti-MPO & Anti-PR3 will be quantitated by enzyme-linked immunosorbent assay (ELISA). There will be additional charges for these tests.

NOTE: Not all specimens positive for P-ANCA are positive for Anti-MPO and not all specimens positive for C-ANCA are positive for Anti-PR3 antibody.

Turnaround Time:	1-5 days

Day(s) Test Set Up:		Tuesday and Friday, Morning

### Anti-Myeloperoxidase Antibody (MPO)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/ml

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Monday, Morning

### Anti-Proteinase 3 Antibody (PR3)

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA, Heparin or Citrate tube)

Method:	Enzyme Linked Immunosorbent Assay (ELISA)

Reference:			Normal <20 RU/ml

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Monday, Morning

## Genotyping

### Human Leucocyte Antigen B27 (HLA B27)

Specimen Required:	3 ml Sodium Citrated blood (Light Blue-Top)

Method:	Polymerase Chain Reaction (PCR) Using Sequence-Specific Primers

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Monday, Morning

### Human Leucocyte Antigen B57:01 (HLA-B*57:01)

Specimen Required:	3 ml Sodium Citrated blood (Light Blue-Top)

Method:	Real-time PCR using gene specific primer pair

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Thursday, Morning

### Human Leucocyte Antigen B58:01 (HLA-B*58:01)

Specimen Required:	3 ml Sodium Citrated blood (Light Blue-Top)

Method:	Real-time PCR using gene specific primer pair

Reference:			Negative (Reported as Positive or Negative)

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Friday, Morning

## Allergy Tests

### Total IgE, Serum

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA or Heparin tube)

Method:	Fluorescent Enzyme Immunoassay (FEIA) using ImmunoCap 100 system

Reference:			Normal <113 kU/L (for Adult and children age > 10 years old)

| Children Age (up to) | Reference Range (kU/L) |
| --- | --- |
|  | (Geometric Mean + 2SD) |
| 6 weeks | <4.0 |
| 3 mths | <7.2 |
| 6 mths | <12.8 |
| 9 mths | <17.4 |
| 12 mths | <22.8 |
| 2 years | <40.3 |
| 3 years | <56 |
| 4 years | <70 |
| 5 years | <84 |
| 6 years | <98 |
| 7 years | <110 |
| 8 years | <124 |
| 9 years | <136 |
| 10 years | <148 |

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

### Tryptase, Serum

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA or Heparin tube). NOTE: Samples should preferably be taken between 15 minutes and 3 hours after the suspected event causing mast cell activation.

Method:	Fluorescent Enzyme Immunoassay (FEIA) using ImmunoCap 100 system

Reference:	Normal < 11.4 µg/L (for children >4 years and adults)

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

### Specific IgE Testing

Allergens available:

| Drugs | Penicilloyl G | Penicilloyl V |
| --- | --- | --- |
|  | Amoxicilloyl | Ampicilloyl |
| Environmental | D. pteronyssinus (House dust mite) | D. farinae (House dust mite) |
|  | Blomia tropicalis (House dust mite) | Cockroach |
|  | Dog Dander | Cat dander |
|  | Aspergillus fumigatus |  |
| Insect Venom | Honey Bee | Paper Wasp |
|  | Yellow Jacket (Common Wasp) | Yellow Hornet |
|  | White-faced Hornet |  |
| Components | rAra h1 (peanut) | Ovomucoid |
|  | rAra h2 (peanut) | Ovalbumin |
|  | rAra h8 (peanut) | rTri a 19 Omega-5 Gliadin |
|  | rAra h9 (peanut) | Casein (Milk) |
|  | rCor a14 (Hazelnut) | β-lactoglobulin (Milk) |
|  | rAna o3 (Cashew nut) |  |
| Food | Egg White Egg | Egg Yolk Coconut |
|  | Crab | Shrimp |
|  | Cod Fish | Chicken |
|  | Milk | Cheese, Cheddar |
|  | Wheat | Peanut |
|  | Soya Bean | Sesame |
|  | Chick pea | Pea |
|  | Beef Rice | Macadamia Nut Corn, Maize |
|  | Pine Nut |  |
|  | Tree Nuts (Almond, Cashew, Pecan, Brazil, Pistachio, Hazel, Walnut) |

Note: CIL is able to perform tests for allergens not listed here as long as they are available from the manufacturer. Please call 6357-8464 to discuss the availability and price of allergen.

The ordering and interpretation of specific IgE tests should be made with careful clinical correlation. They are useful for confirming the allergen specificity in patients with clinically documented allergic disease. They may be less effective when used for screening.

Specimen Required:	Serum (Yellow or Red top) or plasma (EDTA or Heparin tube)

Method:	Fluorescent Enzyme Immunoassay (FEIA) using ImmunoCap System

Reference:	Class		Interpretation

0		Negative

1		Equivocal

2		Positive

3		Positive

4		Strongly positive

5		Strongly positive

6		Strongly positive

NOTE: Results will also be reported in kU/L

Turnaround Time:		1-7 days

Day(s) Test Set Up:		Wednesday, Morning

# REFERRED TEST LISTING

CIL is the reference lab for all tests sent to Mayo Medical Laboratory in TTSH. Following list some commonly sent tests. More informations can be found on Mayo Medical Laboratories website: http://www.mayomedicallaboratories.com/test-catalog/index.html Reports will be dispatched to the requesting doctors as soon as CIL receives the results.

## C1 Esterase Inhibitor, Functional Assay

Specimen Required:	Serum (Red top only)

Fasting (12 hour)

Method:	Enzyme Immunoassay (EIA)

Reference:			>67% normal (normal)

41 – 67% normal (equivocal)

<41% normal (abnormal)

Turnaround Time:		1-7 days

Day(s) Test Send-out:		Monday, Wednesday, Friday mornings

(Note: Please call lab at 6357-8464 before sending)

## C1 Esterase Inhibitor Antigen, Serum

Specimen Required:	Serum (Yellow or Red top)

Fasting (12 hour) preferred, but not required.

Method:	Nephelometry

Reference:	19 – 37 mg/dL

Turnaround Time:	1-7 days

Day(s) Test Send-out:		Monday, Wednesday, Friday mornings

## Angiotensin Converting Enzyme, Serum

Specimen Required:	Serum (Yellow or Red top)

NOTE: The use of angiotensin-converting enzyme (ACE)–inhibiting antihypertensive drugs will cause decreased ACE values.

Method:	Spectrophotometry (SP)

Reference:			8 – 53 U/L (for adults ≥18 years)

Turnaround Time:	1-7 days

Day(s) Test Send-out:		Monday, Wednesday, Friday mornings

## IgG Subclasses, Serum

Specimen Required:	Serum (Yellow or Red top)

Method:	Nephelometry

Reference:

|  | Reference Range (mg/dL) |
| --- | --- |
| Age | TOTAL IgG | IgG subclass 1 | IgG subclass 2 | IgG subclass 3 | IgG subclass 4 |
| 0 to <5 months | 100-334 | 56-215 | ≤82 | 7.6-82.3 | ≤19.8 |
| 5 to <9 months | 164-588 | 102-369 | ≤89 | 11.9-74.0 | ≤20.8 |
| 9 to <15 months | 246-904 | 160-562 | 24-98 | 17.3-63.7 | ≤22.0 |
| 15 to <24 months | 313-1170 | 209-724 | 35-105 | 21.9-55.0 | ≤23.0 |
| 2 to <4 years | 295-1156 | 158-721 | 39-176 | 17.0-84.7 | 0.4-49.1 |
| 4 to <7 years | 386-1470 | 209-902 | 44-316 | 10.8-94.9 | 0.8-81.9 |
| 7 to <10 years | 462-1682 | 253-1019 | 54-435 | 8.5-102.6 | 1.0-108.7 |
| 10 to <13 years | 503-1719 | 280-1030 | 66-502 | 11.5-105.3 | 1.0-121.9 |
| 13 to <16 years | 509-1580 | 289-934 | 82-516 | 20.0-103.2 | 0.7-121.7 |
| 16 to <18 years | 487-1327 | 283-772 | 98-486 | 31.3-97.6 | 0.3-111.0 |
| ≥18 years | 767-1590 | 341-894 | 171-632 | 18.4-106.0 | 2.4-121.0 |

Turnaround Time:	1-7 days

Day(s) Test Send-out:		Monday, Wednesday, Friday mornings

# Text boxes

Tan Tock Seng

HOSPITAL